Annual Drinking Water Quality Report

Town of Dungannon

PWSID # 1169225

INTRODUCTION

This Annual Drinking Water Quality Report for calendar years 2014 is designed to inform you about your drinking water quality.  Our goal is to provide you with a safe and dependable supply of drinking water, and we want you to understand the efforts we make to protect your water supply.  The quality of your drinking water must meet state and federal requirements administered by the Virginia Department of Health (VDH).

If you have questions about this report, please contact:

Renee Adams; P.O. Box 278, Dungannon, VA 24245 276-467-2476

The times and location of regularly scheduled board meetings are as follows:

Town of Dungannon Council meets the 1st Monday of each month in the Town Hall.

GENERAL INFORMATION

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams,  ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.  Contaminants that may be present in source water include:  (1) Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.  (2) Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining , or farming.  (3) Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.  (4) Organic chemical contaminants, including synthetic and volatile organic chemicals, which are byproducts of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, and septic systems.  (5) Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.  In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems.  Food and Drug Administration regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Drinking water, including bottled drinking water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information can be obtained by calling the Environmental Protection Agency's Safe Drinking Water Hotline (800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

###### SOURCES OF YOUR DRINKING WATER

The sources of your drinking water are two groundwater under the direct influence of surface wells located in the Town of Dungannon.  Water is treated by a 0.08 MGD membrane filtration plant.

The Virginia Department of Health and the Town of Dungannon conducted a source water assessment of our system during 2002.  The wells were determined to be of high susceptibility to contamination using the criteria developed by the state in its approved Source Water Assessment Program.  The assessment report consists of maps showing the source water assessment area and an inventory of known land use activities of concern.  The report is available by contacting Ray Blevins at the phone number given elsewhere in this drinking water quality report.

###### DEFINITIONS

Contaminants in your drinking water are routinely monitored according to Federal and State regulations.  The tables on the next two pages show the results of our monitoring for the periods of January 1st to December 31st, 2014.  In the tables and elsewhere in this report you will find many terms and abbreviations you might not be familiar with.  The following definitions are provided to help you better understand these terms:

Maximum Contaminant Level, or MCL -  the highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal, or MCLG - the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

Non-detects (ND) - lab analysis indicates that the contaminant is not present

Parts per million (ppm) or Milligrams per liter (mg/l) - one part per million corresponds to one minute in two years or a single penny in $10,000.

Parts per billion (ppb) or Micrograms per liter - one part per billion corresponds to one minute in 2,000 years, or a single penny in $10,000,000.

Picocuries per liter (pCi/L) - picocuries per liter is a measure of the radioactivity in water.

Action Level - the concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Treatment Technique (TT) - a required process intended to reduce the level of a contaminant in drinking water.

Nephelometric Turbidity Unit (NTU) - nephelometric turbidity unit is a measure of the clarity, or cloudiness, of water. Turbidity in excess of 5 NTU is just noticeable to the average person.  Turbidity is monitored because it is a good indicator of the effectiveness of our filtration system.

Maximum Residual Disinfectant Level Goal or MRDLG – the level of drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

Maximum Residual Disinfectant Level or MRDL – the highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

WATER QUALITY RESULTS

Regulated Contaminants

| Contaminant (units) | MCLG | MCL | Level Detected | Violation (Y/N) | Range | Date of Sample | Typical Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Nitrate + Nitrite (ppm) | 10 | 10 | 0.28 | N | N/A | 2014 | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits |
| Barium (ppm) | 2 | 2 | 0.031 | N | N/A | 2014 | Discharge of drilling waste; Discharge from metal refineries; Erosion of natural deposits |
| Chlorine (ppm) | MRDLG = 4 | MRDL = 4 | 1.61 | N | 1.45 – 1.65 | 2014 | Water additive used to control microbes |
| HAA5s [Haloacetic Acids] (ppb) | N/A | 60 | 10 | N | 7.2 - 17 | 2014 | By-product of drinking water disinfection |
| TTHMs [Total Trihalomethanes] (ppb) | N/A | 80 | 23 | N | 9.7 - 38 | 2014 | By-product of drinking water disinfection |
| Turbidity (NTU) | N/A | TT, 1 NTU Max | 0.041 | N | N/A | 2014 | Turbidity is a measure of the cloudiness of the water. We monitor it because it is a good indicator of the effectiveness of our filtration system. |
|  |  | TT, ≤0.3 NTU 95% of the time | 100% | N | N/A |  |  |
| Flouride (ppm) | 4 | 4 | 0.26 | N | N/A | 2014 | Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories |

Lead and Copper Contaminants

| Contaminant (units) | MCLG | Action Level | 90th Percentile Level Detected | Date of Sampling | # of Sampling Sites Exceeding Action Level | Typical Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- |
| Copper (ppm) | 1.3 | AL = 1.3 | 0.079 | 2014 | 0 | Corrosion of household plumbing systems; Erosion of natural deposits; Leaching from wood preservatives |

The water quality results in the above tables are from testing done in 2014.  However, the state allows us to monitor for some contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of our data, though accurate, is more than one year old.

MCL’s are set at very stringent levels by the U.S. Environmental Protection Agency.  In developing the standards EPA assumes that the average adult drinks 2 liters of water each day throughout a 70-year life span.  EPA generally sets MCLs at levels that will result in no adverse health effects for some contaminants or a one-in-ten-thousand to one-in-a-million chance of having the described health effect for other contaminants.

ADDITIONAL HEALTH INFORMATION

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  The Town of Dungannon is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the  potential for lead exposure by flushing your tap for 15 to 30 seconds or until it becomes cold or reaches a steady temperature before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

VIOLATION INFORMATION

Our waterworks did not have any violations in 2014.

TOWN OF DUNGANNON

CROSS CONNECTION CONTROL

A “cross connection” is an unprotected actual or potential piping or plumbing arrangement between a customer's residential piping system and the public water system through which a substance other than potable water could flow back into the public system.  If water pressure in the street becomes lower than normal, water can flow backwards.  Water may travel from your piping system or from a hose connected to your piping system backward to your outlets or into the piping in your street.

The most common problems in a home are commode flush tank valves submerged in the tank, the connection of hoses or other devices to hose bibs, and the use of frost-proof yard hydrants.  Most homes can be adequately protected by applying an approved vacuum breaker on all hose bibs and through the installation of an anti-siphon flush valve in the commode tank.

Hoses left submerged in swimming pools, animal watering troughs, or having chemical sprayers attached to them are conditions that can be extremely hazardous.  Other potential hazards can apply if hoses are left lying on the ground where contaminants such as fertilizer, garden chemicals, or other liquids can be siphoned into the hose and into the home.

Frost-proof yard hydrants drain into the ground when turned off.  The drain hole underground could allow contamination to be siphoned into the home.  An approved backflow device installed on the line feeding the hydrants will provide adequate protection but is expensive.  An alternative is to just plug the drain hole, install a hose bib vacuum breaker, and winterize or eliminate the hydrant.

All inside and outside hose bibs except those for washing machines will require vacuum breakers.

WARNING, vacuum breakers may prevent the hose bib from draining.  This could allow the hose bib to freeze.  Please read the manufactures recommendation for winterizing or purchase the frost-proof type wall hydrants.

Under Public Law 99-339, the Safe Drinking Water Act Amendments of 1986, the waterworks owner has the primary responsibility for preventing substances from an unknown, questionable, or nonpotable source from entering the public water supply.

The consumer, home owner or resident, has the primary responsibility of preventing pollutants or contaminants from entering the residential piping system and back flowing into the public water supply system.

Thank you in advance for your cooperation.

Please contact the following if you have any questions: Ray Blevins at 276-467-2476